## Cruise Summary
Cruise # |  | P.I. |  |  |  | Number of days filled out |  |  |  | 10
CTD System |  |  | Avg blocked 0VDC | STDev blocked VDC | Avg clear 5VDC |  | STDev clear VDC | Avg signal Span 0-5 VDC | Accuracy
Fluorometer |  |  | 2.4675 | 0.048563 | 0.07 |  | 0.008165 | 2.3975
Transmissometer |  |  | 0 | 0 | 4.5525 |  | 0.077621 | 4.5525 | block 0+-0.01 clear 5 +- 0.02VDC
LS-6000 Light |  |  | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | resolution 0.01% full scale
SMS System
Met |  |  | Air Temp in C |  | Humidity in % |  |  | Barometer in millibars
Sensors |  |  | Accuracy at 20 C +-0.3 C |  | Accuracy at 20 C 3% RH |  |  | Accuracy +- 11 milibar
|  |  | Avg Difference between SMS & Sling Air Temp |  | Avg Difference between SMS & Sling Humidity |  |  | Avg Difference between SMS & Ship Barometer
|  |  | 0.98867 |  | 5 |  |  | #VALUE!
|  |  | STDev Difference between SMS & Sling |  | STDev Difference between SMS & Sling |  |  | STDev Difference between SMS & Ship
|  |  | 0.80222 |  | 7.3485 |  |  | #VALUE!
Water |  |  | Water Temp
Sensor |  |  | Accuracy
Avg Difference between SMS & Ship Water Temp in C
0.052825
ADCP System |  |  | Avg SOG in Knots. Difference between ADCP & Ship |  | Avg COG in Degrees. Difference between ADCP & Ship |  |  | We are unable to state any accuracy for the ADCP there are too many variables. We must rely on the experience for the technician to know what will be reasonable.
|  |  | -0.013429 |  | 21.825
|  |  | SDev SOG in Knots. Difference between ADCP & Ship |  | SDev COG in Degrees. Difference between ADCP & Ship
|  |  | 0.052915 |  | 42.1231
Salinity Samples
CTD | Bottle # |  | #NA | #NA | #NA |  | #NA | #NA |  | Avg Difference
| Portasal Salinity |  | 0 | 0 | 0 |  | 0 | 0 |  | #DIV/0!
| Salinity Difference |  | #NA | #NA | #NA |  | #NA | #NA
| Bottle # |  | #NA | #NA | #NA |  | #NA | #NA |  | STDev
| Portasal Salinity |  | 0 | 0 | 0 |  | 0 | 0 |  | #DIV/0!
| Salinity Difference |  | #NA | #NA | #NA |  | #NA | #NA
SMS | Bottle # |  | #NA | #NA | #NA |  | #NA | #NA |  | Avg Difference
| Portasal Salinity |  | 0 | 0 | 0 |  | 0 | 0 |  | #DIV/0!
| Salinity Difference |  | #NA | #NA | #NA |  | #NA | #NA
| Bottle # |  | #NA | #NA | #NA |  | #NA | #NA |  | STDev
| Portasal Salinity |  | 0 | 0 | 0 |  | 0 | 0 |  | #DIV/0!
| Salinity Difference |  | #NA | #NA | #NA |  | #NA | #NA
Water Maker |  |  | Avg Temp in C | Avg Feed in us | Avg Permeate in us |  | Avg Rejection
|  | AVG | #N/A | #N/A | #N/A |  | #N/A
|  | STDev | #N/A | #N/A | #N/A |  | #N/A

## Pre Cuise
Pre-Cruise Check Off Sheet
CTD System
X |  | Power Up
X |  | Data Verification at Deck Unit
X |  | Data Verification at Acquiring Computer
X |  | Pump Verification at Deck Unit
X |  | Rosette Conformation at Deck Unit
X |  | Rosette Psychical Rotation Verification
X |  | Navigation Verification at Deck Unit
X |  | Navigation Verification at Acquiring Computer
X |  | Calibration Coefficients Verification at Acquiring Computer
X |  | Time Date Verification at Acquiring Computer
X |  | Data from last cruise properly backed up to storage directory
X |  | Dry Test Cast
ADCP System
X |  | Power Up
X |  | Proper Transducer Verification
X |  | Transducer Coefficients Verification at Acquiring Computer
X |  | Data Verification at Acquiring Computer
X |  | Navigation Verification at Acquiring Computer
X |  | Time Date Verification at Acquiring Computer
X |  | Data from last cruise properly backed up to storage directory
X |  | Test Run
SMS System
X |  | Power Up
X |  | Calibration Coefficients Verification at Acquiring Computer
X |  | Data Verification at Acquiring Computer
X |  | Navigation Verification at Acquiring Computer
X |  | Time Date Verification at Acquiring Computer
X |  | Data from last cruise properly backed up to storage directory
X |  | Test Run
Logger Light
X |  | Power Up
X |  | Calibration Coefficients Verification at Acquiring Computer
X |  | Data Verification at Acquiring Computer
X |  | Time Date Verification at Acquiring Computer
X |  | Data from last cruise properly backed up to storage directory
X |  | Test Cast
N/A | XBT
Power Up
Calibration Coefficients Verification at Acquiring Computer
Data Verification at Acquiring Computer
Navigation Verification at Acquiring Computer
Time Date Verification at Acquiring Computer
Data from last cruise properly backed up to storage directory
Test Drop
Water Maker
X |  | Setting Verification
X |  | Production Verification
X |  | Tank Full
X |  | Spare Tank Full
X |  | Spare Filter Verification
N/A | LSC
Power Up
Count Verification
Notified Crew of Hot Work
Proper Warning in Place
N/A | Lab Incubator
Power Up
Operation Verification
Light Verification
Timer Verification
Coring Equipment
N/A |  | Box Core
Operational Part Verification
Function Verification
Gear Secured for Sea
N/A |  | Gravity Core
Operational Part Verification
Function Verification
Sufficient Core Liners & End Caps
Gear Secured for Sea
N/A |  | Smith Mac
Operational Part Verification
Function Verification
Gear Secured for Sea
Deck Gear
X |  | Deck Incubators 1 & 2
X |  |  | Operational Part Verification
X |  |  | Function Verification
X |  |  | Gear Secured for Sea
N/A |  | Pole Mount
Operational Part Verification
Function Verification
Gear Secured for Sea

## Wind Check
Date | 2011-05-03
Observers | NS/WT
| Tower MPH | Tower Knt | Relative Wind Speed #1 | Relative Wind Speed #2 | Comments
1 | 16 | 13.913 | 10.1 | 9.3
2 | 11 | 9.5652 | 16.9 | 16.8
3 | 14 | 12.1739 | 15 | 17.1
4 | 17 | 14.7826 | 13.7 | 14.8
5 | 15 | 13.0435 | 15.8 | 13.3
6 | 17 | 14.7826 | 10.3 | 9.5
7 | 17 | 14.7826 | 4.5 | 9.7
8 | 17 | 14.7826 | 4.8 | 9.7
9 | 17 | 14.7826 | 12.9 | 11.8
10 | 17 | 14.7826 | 10.3 | 9.7

## Day 1
CTD System |  | Fluorometer | Transmissometer | LS-6000 Light | Daily Maintenance
Blocked VDC |  | #NA | #NA | #NA | Rosette
Clear VDC |  | #NA | #NA | #NA | Flush Tubing
Span Difference 0-5VDC |  | #NA | #NA | #NA |  |  |  | 0
SMS System |  | SMS | Aux Sensor Ship | Sensor Difference | SMS Time of reading |  | DAR
Met
| Air Temp | #NA | #NA | #NA
| Humidity | #NA | #NA | #NA
| Barometer | #NA | #NA | #NA
Water
| Temp | #NA | #NA | #NA
ADCP System |  | SOG | COG | Comments
| ADCP | #NA | #NA
| Navigation | #NA | #NA
| Difference | #NA | #NA
Salinity Samples
|  | Sample Bottle # | Salinity | Sample Time | Comments
| CTD | #NA | #N/A
| SMS | #NA | #N/A
Water Maker |  | Feed Temp in C | Feed in us | Permeate in us | Rejection in % | Comments
|  | #N/A | #N/A | #N/A | #N/A
Daily Comments

## Day 2
CTD System |  | Fluorometer | Transmissometer | LS-6000 Light | Daily Maintenance
Blocked VDC |  | #NA | #NA | #NA | Rosette
Clear VDC |  | #NA | #NA | #NA | Flush Tubing
Span Difference 0-5VDC |  | #NA | #NA | #NA
SMS System |  | SMS | Aux Sensor Ship | Sensor Difference | SMS Time of reading |  | DAR
Met
| Air Temp | #NA | #NA | #NA
| Humidity | #NA | #NA | #NA
| Barometer | #NA | #NA | #NA
Water
| Temp | #NA | #NA | #NA
ADCP System |  | SOG | COG | Comments
| ADCP | #NA | #NA
| Navigation | #NA | #NA
| Difference | #NA | #NA
Salinity Samples
|  | Sample Bottle # | Salinity | Sample Time | Comments
| CTD | #NA | #N/A
| SMS | #NA | #N/A
Water Maker |  | Feed Temp in C | Feed in us | Permeate in us | Rejection in % | Comments
|  | #N/A | #N/A | #N/A | #N/A
Daily Comments

## Day 3
CTD System |  | Fluorometer | Transmissometer | LS-6000 Light |  | Daily Maintenance |  | Date
Blocked VDC |  | 2.53 | 0 | #NA |  | Rosette
Clear VDC |  | 0.08 | 4.54 | #NA |  | Flush Tubing
Span Difference 0-5VDC |  | 2.45 | 4.54 | #NA |  | 0119gmt |  | 0
SMS System |  | SMS | Aux Sensor Ship | Sensor Difference |  | SMS Time of reading
Met
| Air Temp | 28.83 | 29.4444 | 0.61444 | 0124gmt
| Humidity | 87 | 86 | -1
| Barometer | 1010 | #NA | #VALUE!
Water
| Temp | 27.8534 | 28.3 | 0.4466 |  | 0000gmt
ADCP System |  | SOG | COG | Comments
| ADCP | 5.5711 | 177.1 | 0120gmt
| Navigation | 5.6 | 177
| Difference | 0.028942 | -0.1
Salinity Samples
|  | Sample Bottle # | Salinity | Sample Time |  | Comments
| CTD | #NA | 0
| SMS | #NA | 0
Water Maker |  | Feed Temp in C | Feed in us | Permeate in us |  | Rejection in % | Comments
|  | #NA | #NA | #NA |  | #NA
Daily Comments

## Day 4
CTD System |  | Fluorometer | Transmissometer | LS-6000 Light | Daily Maintenance |  | Date
Blocked VDC |  | 2.44 | 0 | #NA | Rosette |  | 2011-07-22
Clear VDC |  | 0.06 | 4.59 | #NA | Flush Tubing
Span Difference 0-5VDC |  | 2.38 | 4.59 | #NA |  |  | 0
SMS System |  | SMS | Aux Sensor Ship | Sensor Difference | SMS Time of reading
Met
| Air Temp | 33.05 | 35 | 1.95 | 1600
| Humidity | 64 | 70 | 6 | 1604
| Barometer | 1013 | #NA | #VALUE!
Water
| Temp | 28.56 | 28.33 | -0.23 | 1402gmt
ADCP System |  | SOG | COG | Comments
| ADCP | 9.0875 | 344.9 | 1552gmt
| Navigation | 9.1 | 345.6
| Difference | 0.012527 | 0.7
Salinity Samples
|  | Sample Bottle # | Salinity | Sample Time | Comments
| CTD | #NA | 0
| SMS | #NA | 0
Water Maker |  | Feed Temp in C | Feed in us | Permeate in us | Rejection in % | Comments
|  | #NA | #NA | #NA | #NA
Daily Comments

## Day 5
CTD System |  | Fluorometer | Transmissometer | LS-6000 Light | Daily Maintenance |  | Date
Blocked VDC |  | 2.42 | 0 | #NA | Rosette |  | 2011-07-23
Clear VDC |  | 0.07 | 4.45 | #NA | Flush Tubing
Span Difference 0-5VDC |  | 2.35 | 4.45 | #NA |  |  | 0
SMS System |  | SMS | Aux Sensor Ship | Sensor Difference | SMS Time of reading
Met
| Air Temp | 33.72 | 33.888 | 0.168 | 1551
| Humidity | 50 | 65 | 15 | 1551
| Barometer | 1015 | #NA | #VALUE!
Water
| Temp | 30.3412 | 30.34 | -0.0012 | 1602
ADCP System |  | SOG | COG | Comments
| ADCP | 0.09 | 143.2 | 1540 GMT AT ANCHOR
| Navigation | 0 | 228.2
| Difference | -0.09 | 85
Salinity Samples
|  | Sample Bottle # | Salinity | Sample Time | Comments
| CTD | #NA | 0
| SMS | #NA | 0
Water Maker |  | Feed Temp in C | Feed in us | Permeate in us | Rejection in % | Comments
|  | #NA | #NA | #NA | #NA
Daily Comments

## Day 6
CTD System |  | Fluorometer | Transmissometer | LS-6000 Light | Daily Maintenance |  | Date
Blocked VDC |  | 2.48 | 0 | #NA | Rosette |  | 2011-07-24
Clear VDC |  | 0.07 | 4.63 | #NA | Flush Tubing
Span Difference 0-5VDC |  | 2.41 | 4.63 | #NA |  |  | 0
SMS System |  | SMS | Aux Sensor Ship | Sensor Difference | SMS Time of reading
Met
| Air Temp | 31 | 32.2222 | 1.2222 | 1524gmt
| Humidity | 70 | 70 | 0
| Barometer | 1014 | #NA | #VALUE!
Water
| Temp | 29.2841 | 29.28 | -0.0041 | 1200gmt
ADCP System |  | SOG | COG | Comments
| ADCP | 1.2052 | 156.6 | 1520gmt
| Navigation | 1.2 | 158.3
| Difference | -0.005184 | 1.7
Salinity Samples
|  | Sample Bottle # | Salinity | Sample Time | Comments
| CTD | #NA | 0
| SMS | #NA | 0
Water Maker |  | Feed Temp in C | Feed in us | Permeate in us | Rejection in % | Comments
|  | #NA | #NA | #NA | #NA
Daily Comments

## Day 7
CTD System |  | Fluorometer | Transmissometer | LS-6000 Light | Daily Maintenance |  | Date
Blocked VDC |  | #NA | #NA | #NA | Rosette
Clear VDC |  | #NA | #NA | #NA | Flush Tubing
Span Difference 0-5VDC |  | #NA | #NA | #NA |  |  | 0
SMS System |  | SMS | Aux Sensor Ship | Sensor Difference | SMS Time of reading
Met
| Air Temp | #NA | #NA | #NA
| Humidity | #NA | #NA | #NA
| Barometer | #NA | #NA | #NA
Water
| Temp | #NA | #NA | #NA
ADCP System |  | SOG | COG | Comments
| ADCP | #NA | #NA
| Navigation | #NA | #NA
| Difference | #NA | #NA
Salinity Samples
|  | Sample Bottle # | Salinity | Sample Time | Comments
| CTD | #NA | 0
| SMS | #NA | 0
Water Maker |  | Feed Temp in C | Feed in us | Permeate in us | Rejection in % | Comments
|  | #NA | #NA | #NA | #NA
Daily Comments

## Day 8
CTD System |  | Fluorometer | Transmissometer | LS-6000 Light | Daily Maintenance |  | Date
Blocked VDC |  | #NA | #NA | #NA | Rosette
Clear VDC |  | #NA | #NA | #NA | Flush Tubing
Span Difference 0-5VDC |  | #NA | #NA | #NA |  |  | 0
SMS System |  | SMS | Aux Sensor Ship | Sensor Difference | SMS Time of reading
Met
| Air Temp | #NA | #NA | #NA
| Humidity | #NA | #NA | #NA
| Barometer | #NA | #NA | #NA
Water
| Temp | #NA | #NA | #NA
ADCP System |  | SOG | COG | Comments
| ADCP | #NA | #NA
| Navigation | #NA | #NA
| Difference | #NA | #NA
Salinity Samples
|  | Sample Bottle # | Salinity | Sample Time | Comments
| CTD | #NA | 0
| SMS | #NA | 0
Water Maker |  | Feed Temp in C | Feed in us | Permeate in us | Rejection in % | Comments
|  | #NA | #NA | #NA | #NA
Daily Comments

## Day 9
CTD System |  | Fluorometer | Transmissometer | LS-6000 Light | Daily Maintenance |  | Date
Blocked VDC |  | #NA | #NA | #NA | Rosette
Clear VDC |  | #NA | #NA | #NA | Flush Tubing
Span Difference 0-5VDC |  | #NA | #NA | #NA |  |  | 0
SMS System |  | SMS | Aux Sensor Ship | Sensor Difference | SMS Time of reading
Met
| Air Temp | #NA | #NA | #NA
| Humidity | #NA | #NA | #NA
| Barometer | #NA | #NA | #NA
Water
| Temp | #NA | #NA | #NA
ADCP System |  | SOG | COG | Comments
| ADCP | #NA | #NA
| Navigation | #NA | #NA
| Difference | #NA | #NA
Salinity Samples
|  | Sample Bottle # | Salinity | Sample Time | Comments
| CTD | #NA | 0
| SMS | #NA | 0
Water Maker |  | Feed Temp in C | Feed in us | Permeate in us | Rejection in % | Comments
|  | #NA | #NA | #NA | #NA
Daily Comments

## Day 10
CTD System |  | Fluorometer | Transmissometer | LS-6000 Light | Daily Maintenance |  | Date
Blocked VDC |  | #NA | #NA | #NA | Rosette
Clear VDC |  | #NA | #NA | #NA | Flush Tubing
Span Difference 0-5VDC |  | #NA | #NA | #NA |  |  | 0
SMS System |  | SMS | Aux Sensor Ship | Sensor Difference | SMS Time of reading
Met
| Air Temp | #NA | #NA | #NA
| Humidity | #NA | #NA | #NA
| Barometer | #NA | #NA | #NA
Water
| Temp | #NA | #NA | #NA
ADCP System |  | SOG | COG | Comments
| ADCP | #NA | #NA
| Navigation | #NA | #NA
| Difference | #NA | #NA
Salinity Samples
|  | Sample Bottle # | Salinity | Sample Time | Comments
| CTD | #NA | 0
| SMS | #NA | 0
Water Maker |  | Feed Temp in C | Feed in us | Permeate in us | Rejection in % | Comments
|  | #NA | #NA | #NA | #NA
Daily Comments

## Day 11
CTD System |  | Fluorometer | Transmissometer | LS-6000 Light | Daily Maintenance |  | Date
Blocked VDC |  | #NA | #NA | #NA | Rosette
Clear VDC |  | #NA | #NA | #NA | Flush Tubing
Span Difference 0-5VDC |  | #NA | #NA | #NA |  |  | 0
SMS System |  | SMS | Aux Sensor Ship | Sensor Difference | SMS Time of reading
Met
| Air Temp | #NA | #NA | #NA
| Humidity | #NA | #NA | #NA
| Barometer | #NA | #NA | #NA
Water
| Temp | #NA | #NA | #NA
ADCP System |  | SOG | COG | Comments
| ADCP | #NA | #NA
| Navigation | #NA | #NA
| Difference | #NA | #NA
Salinity Samples
|  | Sample Bottle # | Salinity | Sample Time | Comments
| CTD | #NA | 0
| SMS | #NA | 0
Water Maker |  | Feed Temp in C | Feed in us | Permeate in us | Rejection in % | Comments
|  | #NA | #NA | #NA | #NA
Daily Comments

## Day 12
CTD System |  | Fluorometer | Transmissometer | LS-6000 Light | Daily Maintenance |  | Date
Blocked VDC |  | #NA | #NA | #NA | Rosette
Clear VDC |  | #NA | #NA | #NA | Flush Tubing
Span Difference 0-5VDC |  | #NA | #NA | #NA |  |  | 0
SMS System |  | SMS | Aux Sensor Ship | Sensor Difference | SMS Time of reading
Met
| Air Temp | #NA | #NA | #NA
| Humidity | #NA | #NA | #NA
| Barometer | #NA | #NA | #NA
Water
| Temp | #NA | #NA | #NA
ADCP System |  | SOG | COG | Comments
| ADCP | #NA | #NA
| Navigation | #NA | #NA
| Difference | #NA | #NA
Salinity Samples
|  | Sample Bottle # | Salinity | Sample Time | Comments
| CTD | #NA | 0
| SMS | #NA | 0
Water Maker |  | Feed Temp in C | Feed in us | Permeate in us | Rejection in % | Comments
|  | #NA | #NA | #NA | #NA
Daily Comments

## Instrustions
Instructions for using this document
Naming the Document
The current name for this workbook is "cruisebook.xls". At the beginning of each cruise the workbook file will be copied to a new file with the cruise name, with the addition of a letter for cruises longer than 10 days, used for the new name. "0001-A.xls" is an example of a file used for the first cruise of the year 2000. The "A" indicates that cruise is longer than 10 days and that additional file "0001-B.xls" will follow. If a cruise is less than 10 days no letter will be added. This will indicates that this is the only file for the cruise.
Filling in the Document
Title Page
On the first page of this document "cruise Summary there is a small title section that is required to be filled in. This includes the "Cruise Name", P.I. Name", and number of days filled in for this report. The days filled in for the report is important because this is the number used for calculating averages on the summary sheet.
CTD
On each of the "Day" sheets there is a section for the CTD. There are two check off boxes for the daily care of the CTD and the following sensor sections.
Daily Fluorometer
The first sensor section deals with the fluorometer. After the lens on the fluorometer have been cleaned a voltage signal check will be made. The zero reading is made by having an open path for the lens. This reading should be very close to 0.000 VDC. If the zero reading is high the lens may require additional cleaning. A full scale reading is done by placing a finger into the path of the lens to get a max voltage. This reading should be very close to 5.00 VDC
Daily Transmissometer
The second sensor section deals with the transmissometer. After the lens on the transmissometer have been cleaned a voltage signal check will be made. The zero reading is made by having an open path between the lens. This reading should be very close to 0.000 VDC. If the zero reading is high the lens may require additional cleaning. A full scale reading is done by placing a rag into the path of the lens to get a max voltage. This reading should be very close to 5.00 VDC.
Daily LS-6000 Light Back Scatter
The third sensor section deals with the light backscatter. After the lens on the light backscatter have been cleaned a voltage signal check will be made. The zero reading is made by having an open path . This reading should be very close to 0.000 VDC. If the zero reading is high the lens may require additional cleaning. A full scale reading is done by placing a cap on the lens to get a max voltage. This reading should be very close to 5.00 VDC.
SMS
On each of the "Day" sheets there is a section for the SMS. There is a check off boxes for the daily care of the SMS and the following sensor sections. The time for each of the entries will be recorded form the SMS display.
Air Temperature
In the "Air Temperature" section an entry for dry air temperature from the display of the SMS will be entered. The "Aux Sensor Ship" is taken from the Dry air temperature reading attend from the Sling Psycrometer. Both of these reading will be entered a degrees C.
Air Humidity
In the "Humidity" section an entry for air humidity from the display of the SMS will be entered. The "Aux Sensor Ship" is calculated from the air humidity reading abtainned from the Sling Psycrometer. Both of these reading will be entered a %RH.
Air Barometer
In the "Barometer" section an entry for barometer from the display of the SMS will be entered. The "Aux Sensor Ship" is taken from the barometer reading abtainned from the ship barometer located on the bridge. Both of these reading will be entered a mili-bars.
Water Temperature
In the "Water Temperature" section an entry for water temperature from the display of the SMS will be entered. The "Aux Sensor Ship" is taken from the water temperature reading abtainned from the ship water temperature located on the bridge. Both of these reading will be entered a degree C.
ADCP
On each of the "Day" sheets there is a section for the ADCP. This section contains entries for a reasonable check for both SOG and COG. If is very important that these readings are taken after the ship has traveled a steady course and speed for at least 25 min.
Speed over Ground
In the "SOG" section an entry for ADCP SOG from the display of transect will be entered. The "Aux Sensor Ship" is taken from the SOG reading abtainned from the ship DGPS located on the SMS display. Both of these reading will be entered a kn/hour.
Course over Ground
In the "COG" section an entry for ADCP COG from the display of transect will be entered. The "Aux Sensor Ship" is taken from the COG reading abtainned from the ship DGPS located on the SMS display. Both of these reading will be entered a kn/hour.
Salinity Samples
CTD&SMS at Sea
When a salinity sample is taken the reading are taken from the proper system. Record salinity, sample bottle number, and time and place them in the proper box. How to take a salinity sample is located in the procedure manual.
CTD&SMS in Lab
When ruining the samples in the lad the salinity is recorded with the proper sample bottle. Record these reading on the cruise summary sheet.
Water Maker
Scroll through each of the selection and record the reading in the proper entry.
Using Forms
Form-Sta-01
This is the standard station sheet. It can be printed off and used as in the past.
Form-Surv-01
This sheet is used when conducting surveys. The sheet can be copied and placed just in front of the instructions sheet in the workbook. Then it can be filled out as the cruise goes on. Additional sheets use as needed. This sheet does not need to be printed out.
Form-RS-01
This is the standard repair and service sheet. When this sheet is used it is copied and placed at the beginning of workbook. This sheet does not need to be printed out.
Form-Ship-01
This is the standard shipping sheet. When this sheet is used it is copied and placed at the beginning of workbook. This sheet can be printed off to provide a shipping label.

## Form-Sta-01
R.V. HUGH R. SHARP |  | CRUISE Name | OPERATOR Name | Chief Scientist |  | DATE | Station | Cast
|  | HRS 110719JP | WT/AM | J.PIERSON |  |  | Lat
|  |  | CTD |  |  |  | Long
Ramp |  | Niskin # | Depth (m) | Temp C | Salinity | Sample Bottle # | Remarks
Position 1
Position 2
Position 3
Position 4
Position 5
Position 6
Position 7
Position 8
Position 9
Position 10
Position 11
Position 12
Sensor Measurements |  |  | Temp | Salinity | Fluorometer |  | Cable #
| Time LMT | SAIL |  |  |  |  | Max. Out
| Time UTC | CTD |  |  |  |  | Max. Tension
Deck Unit S/N |  | CTD Con File |  | Depth CTD |  |  | Salinity Samples
403 |  | 2011-A.con |  | Depth SMS |  |  | yes _____ | no _____
Comments
PRR-600
Binary File Name |  |  | ASCII File Name |  |  | Depth of Profile
Comments
Sediment
Core # |  | Sampler |  | Penetration and Description
Comments
Tows
Type of Tow |  |  |  | Start Time |  |  | Finish Time
Comments
Mooring
Start Time | [5 empty] | Finish Time
Description

## Form-Surv-01
R.V. CAPE HENLOPEN |  | CRUISE Name | OPERATOR Name |  |  | Chief Scientist
|  |  | Position |  |  | Cable #
DATE | Time | Cast | Station | Latitude | Longitude | Max. Out | Max. Tension | Comments

## Form-RS-01
Item |  | Date
Model # |  | Cruise
S/N |  | Operator
Repair | ____
Service | ____
If this is a repair explain what happened?
What was done to the item?
What parts need to be ordered for replacement spares?
If the science mission was interrupted explain.
Explain how we can improve.

## Form-Ship-01
Date
Shipped From:
University Of Delaware
700 Pilottown Rd.
Marine Operation Building Room 132
Lewes, Delaware 19958
Ship To:
Attn.
RMA #
Item Description:
Being returned for:
Shipper:
Tracking #